## Cover
Review of Ecodesign of transformers Quantitative Questionnaire |  | Questionnaire Worksheet Guidance Notes
|  | Interested Party | Questionnaire Sections of more Relevance to you | Interested Party | Questionnaire Sections of more Relevance to you | Interested Party | Questionnaire Sections of more Relevance to you
|  | Manufacturers | 1. Products & Base cases | Utilities | 2. Technical performance | Recyclers and Repairers | 3. Bill of Materials
Thank you for taking the time to complete this questionnaire and share important data regarding the transformers market in the EU. Your contributions will greatly shape the outputs from this review study. Your data will be treated in the strictest of confidence and will not be shared or published in disaggregated form. Should you feel more comfortable sharing market data under the terms of a Non-Disclosure Agreement, please contact the study team at the address below where an NDA can be facilitated. |  |  | 2. Technical performance |  | 3. Bill of Materials |  | 8. Consumer Expenditure
|  |  | 3. Bill of Materials |  | 4. Sales |  | 9. Circular Economy
|  |  | 4. Sales |  | 5. Market & Stock Data
|  |  | 5. Market & Stock Data |  | 6. Market Trends
|  |  | 6. Market Trends |  | 7. Channels to Market
|  |  | 7. Channels to Market |  | 8. Consumer Expenditure
|  |  | 8. Consumer Expenditure |  | 9. Circular Economy
Stakeholder | Insert company name |  | 9. Circular Economy
Please note this is provided as a guidance note, please feel free to provide insight in as many sections as you wish.
Contact | Insert primary contact
Email | Insert email address
Date Completed | Insert date completed
Please submit the completed questionnaire and accompanying documents by the 24th January 2024 to: | transformersreview@icf.com
For more information go to: | Eco Transformers Review (eco-transformers-review.eu)

## Definitions
Definitions
In the questionnaire, the following product definitions and classifications have been used. The accompanying definitions are provided for clarity. These have been sourced from existing Ecodesign regulation and preparatory study.
Classification | Scope | Sub-category | Definition
Transformer | This Regulation sets out ecodesign requirements for placing on the market or putting into service power transformers with a minimum power rating of 1 kVA used in 50 Hz electricity transmission and distribution networks or for industrial applications. | Power transformer | A static piece of apparatus with two or more windings which, by electromagnetic induction, transforms a system of alternating voltage and current into another system of alternating voltage and current usually of different values and at the same frequency for the purpose of transmitting electrical power.
|  | Small power transformer | A power transformer with a highest voltage for equipment not exceeding 1,1 kV
|  | Medium power transformer | A power transformer with all windings having rated power lower than or equal to 3 150 kVA, and highest voltage for equipment greater than 1,1 kV and lower than or equal to 36 kV
|  | Large power transformer | A power transformer with at least one winding having either rated power greater than 3 150 kVA or highest voltage for equipment greater than 36 kV
|  | Liquid immersed transformer | A power transformer in which the magnetic circuit and windings are immersed in liquid. Liquid transformers rely on oil or another liquid circulating around the coils for cooling. Liquid removes heat more effectively than air. Liquid filled transformers are smaller in size than dry-type units for the same power rating capacity and have lower losses due to their smaller dielectric distances.
|  | Dry type transformer | A power transformer in which the magnetic circuit and windings are not immersed in an insulating liquid.
|  | Medium power pole mounted transformer | A power transformer with a rated power of up to 400 kVA suitable for outdoor service and specifically designed to be mounted on the support structures of overhead power lines.
|  | MV/LV Distribution Transformers | MV/LV Distribution transformers installed by DSO refer to any transformer that takes voltage from a primary distribution circuit and ―steps down or reduces it to a secondary distribution circuit or a consumer‘s service circuit at e.g. 400 VAC or 230 VAC with an input voltage of at least 1.1 kV. Distribution transformers can vary in size, with the most common ranging from 50 kVA to 2.5 MVA, with an input voltage between 1.1 and 36 kV (EN 50464-1).
|  | DER Transformers | DER LV/MV connecting transformers are used to connect Distributed Energy Resources (DER) to the distribution grid, e.g.: wind turbines, photovoltaic, fuel cells,.. They might be designed with higher rated power than Distribution transformer (especially for wind turbines). Those transformers might also be optimized for a particular load profile and shape for integration (e.g. wind turbine).
|  | Separating Transformer | A transformer that has primary and secondary windings electrically isolated by means of basic insulation, so as to limit, in the circuit fed by the secondary winding, the risks in the event of accidental simultaneous contact with earth and live parts. Typical size for three phase transformers is from 1 kVA up to 63 kVA.
|  | Isolation Transformers | Is a separating transformer that has primary and secondary windings electrically isolated by means of double or reinforced insulation. Frequent applications are a change of earthing system or a critical load protection in distorted systems. Typical size for three phase transformers is from 1 kVA up to 63 kVA.

## 1. Products & Base cases
Product Range
1.1 | Have you ever commissioned a Life Cycle Assessment to map the environmental impacts of your transformer products?
1.2 | Would you be able to share the Life Cycle Assessments with the study team?
Base cases
1.3.1 | BC 1 - Distribution Transformer | Feedback:
Rated power of each winding: 400kVA
Number of Phases: 3
Insulation Technology: Liquid immersed
Regulation Voltage Levels high side: <=24kV
No Load Losses (P0): 387W
Load Losses (Pk): 3250W
Impedance: 4%
1.3.2 | BC 2 - Small Transformers including Separation/ Isolation Transformer | Feedback:
Rated power of each winding: 16kVA
Number of Phases: 3
Insulation Technology: Dry
Regulation Voltage Levels high side: <=1,1kV
No Load Losses (P0): 110
Load Losses (Pk): 750
PEI: 96,4%
Impedance: 6%
NOTE TO STAKEHOLDERS:
These base cases will be used by the study team to model the Techno-Economic impacts of average transformers. These bases cases will then become the benchmark against which various design option improvements will be measured against, later on in the study.
These base cases and their characteristic components and features were carefully chosen to try and represent average products on the market.
We welcome your view on these as well as any proposal , followed by the appropriate justified evidence.

## 2. Technical Performance
Shift in Technical Parameters
|  |  |  | MV/LV Distribution oil-immersed (400kVA) (24/0,4kV) |  |  | Small transformers including Separation/ Isolation (16kVA) (24/0,4kV) |  |  | Industry oil-immersed (1MV) (24/0,4kV) |  |  | Industry dry-type (1.25MVA) (24/0,4kV) |  |  | Power Transformer (100MVA, primary voltage 132kV, secondary voltage 33kV)(132/33kV) |  |  | DER oil-immersed (2MVA) (24/0,4kV) |  |  | DER dry-type (2MVA) (24/0,4kV) |  |  | Other (please specify)
2.1 | Please provide information on evolution of technical parameters over the years in %. The ratings provided represent the average values for each category. If these have not changed, please indicate the same with a 0%. If the ratings have changed, please also add feedback explaining your understanding of the change (e.g. home electrification, renewable integration, EV penetration etc.) | Transformer Rating (Sr) | kVA | 400 | % | Insert Feedback | 16 | % | Insert Feedback | 1000 | % | Insert Feedback | 1250 | % | Insert Feedback | 100000 | % | Insert Feedback | 2000 | % | Insert Feedback | 2000 | % | Insert Feedback |  | % | Insert Feedback
|  | Load Loss (Pk) | W | 3250 | % | Insert Feedback | 750 | % | Insert Feedback | 7600 | % | Insert Feedback | 11000 | % | Insert Feedback | 460000 | % | Insert Feedback | 15000 | % | Insert Feedback | 16000 | % | Insert Feedback |  | % | Insert Feedback
|  | No Load Loss (P0) | W | 387 | % | Insert Feedback | 110 | % | Insert Feedback | 693 | % | Insert Feedback | 1620 | % | Insert Feedback | 28700 | % | Insert Feedback | 1305 | % | Insert Feedback | 2340 | % | Insert Feedback |  | % | Insert Feedback
|  | PEI | % | 99439 | % | Insert Feedback | 96.41 | % | Insert Feedback | 99541 | % | Insert Feedback | 99325 | % | Insert Feedback | 99770 | % | Insert Feedback | 99558 | % | Insert Feedback | 99388 | % | Insert Feedback |  | % | Insert Feedback
|  | Load Factor (k) | Pavg/S | 0,15 | % | Insert Feedback | 0,4 | % | Insert Feedback | 0,3 | % | Insert Feedback | 0,3 | % | Insert Feedback | 0,2 | % | Insert Feedback | 0,25 | % | Insert Feedback | 0,25 | % | Insert Feedback |  | % | Insert Feedback
|  | Load form factor (Kf) | Prms/Pavg | 1073 | % | Insert Feedback | 1,5 | % | Insert Feedback | 1096 | % | Insert Feedback | 1096 | % | Insert Feedback | 1,08 | % | Insert Feedback | 1,5 | % | Insert Feedback | 1073 | % | Insert Feedback |  | % | Insert Feedback
|  | Availability factor (AF) | ratio | 1 | % | Insert Feedback | 0,2 | % | Insert Feedback | 1 | % | Insert Feedback | 1 | % | Insert Feedback | 1 | % | Insert Feedback | 1 | % | Insert Feedback | 1 | % | Insert Feedback |  | % | Insert Feedback
|  | Equivalent load factor (keq) | ratio | 0,18 | % | Insert Feedback | 0,67 | % | Insert Feedback | 0,37 | % | Insert Feedback | 0,37 | % | Insert Feedback | 0,24 | % | Insert Feedback | 0,42 | % | Insert Feedback | 0,30 | % | Insert Feedback |  | % | Insert Feedback
|  | Load Factor at PEI | ratio | 0,345 | % | Insert Feedback | 0.383 | % | Insert Feedback | 0,302 | % | Insert Feedback | 0,384 | % | Insert Feedback | 0,250 | % | Insert Feedback | 0,295 | % | Insert Feedback | 0,382 | % | Insert Feedback |  | % | Insert Feedback

## 3. Bill of Materials
Bill of Materials Data Template Example
Application | BC 1 - Distribution Transformer (Tier 2 average) | BC 1 - Distribution Transformer (Average amorphous steel core product) | BC 2 - Separation/ Isolation Transformer (average product) | BC 2 - Separation/ Isolation Transformer (Best in class product) | Offshore wind nacelle | Onshore wind nacelle | Other offshore applications (example: collector station) | Average Tier 2 compliant pole-mounted transformer | Average Dual windings transformer | Other
General performance
Sample(s) or representative:
Transformer category:
Rated power of each winding (kVA) | 400 |  | 16
Number of phases: | 3 |  | 3
Primary Voltage (kV):
Secondary (kV):
Regulation type
Tapping
Type of cooling
Impedance (%) | 4 |  | 6
Core Losses (W): | 387 |  | 110
Coil Losses (W): | 3250 |  | 750
PEI (%) |  |  | 96.4
Operating temperature(Pk)
Sound power level
Dimensions
Length (mm)
Width (mm)
Heigth (mm)
Total weight (kg)
Minimum clearance between live parts and ground [mm]
Minimum free distance required around the transformer [mm]
Material content
Core:
Core Type:
Core Material: (eg. Non-grain oriented steel, Grain oriented steel, Amorphous steel)
Weight of Core (kg):
Windings:
Windings material (eg. Aluminium, copper)
Weight of windings (kg):
Insulation
Insulation type:
Oil type:
Oil weight(kg):
Other insulation material: (eg. Resin, ceramic, cardboard)
Other insulation material weight
Enclosure
Enclosure material: (eg. Steel)
Enclosure weight (kg)
Other component
Other component material
Other component weight (kg)

## 4. Sales
EU TOTAL Sales (2020, 2021 and 2022)
|  |  | 2018 | 2019 | 2020 | 2021 | 2022
4.1 | What are the TOTAL sales of transformers in the EU-27 for years 2020, 2021 and 2022 according to the following classification? (in units) | MV/LV Distribution oil-immersed (400kVA) (24/0,4kV) | 0 | 0 | 0 | 0 | 0
|  | Small transformers including Separation/ Isolation (16kVA) (24/0,4kV) | 0 | 0 | 0 | 0 | 0
|  | Industry oil-immersed (1MV) (24/0,4kV) | 0 | 0 | 0 | 0 | 0
|  | Industry dry-type (1.25MVA) (24/0,4kV) | 0 | 0 | 0 | 0 | 0
|  | Power Transformer (100MVA, primary voltage 132kV, secondary voltage 33kV)(132/33kV) | 0 | 0 | 0 | 0 | 0
|  | DER oil-immersed (2MVA) (24/0,4kV) | 0 | 0 | 0 | 0 | 0
|  | DER dry-type (2MVA) (24/0,4kV) | 0 | 0 | 0 | 0 | 0
|  | Other (please specify) | 0 | 0 | 0 | 0 | 0
|  | Total transformers | 0 | 0 | 0 | 0 | 0
| Distribution- For the Base Cases- Please refer to Tab 1 |  | Answer
4.2 | What is the form of transport used to deliver transformers from factory to end client?

## 5. Market & Stock Data
Stock (in units)
5.1.1 | For each type of transformer, what is your estimate of the installed TOTAL stock in the EU-27 (historical and future estimates)? | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
MV/LV Distribution oil-immersed (400kVA) (24/0,4kV)
Small transformers including Separation/ Isolation (16kVA) (24/0,4kV)
Industry oil-immersed (1MV) (24/0,4kV)
Industry dry-type (1.25MVA) (24/0,4kV)
Power Transformer (100MVA, primary voltage 132kV, secondary voltage 33kV)(132/33kV)
DER oil-immersed (2MVA) (24/0,4kV)
DER dry-type (2MVA) (24/0,4kV)
Other (please specify)
5.1.2 | What is the basis of your estimate (e.g. via third party market research report or expert estimate)?
Sales (in units)
5.2 | What is your estimate for the TOTAL historical and future sales of transformers in the EU-27? (historical and future estimates) | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
MV/LV Distribution oil-immersed (400kVA) (24/0,4kV)
Small transformers including Separation/ Isolation (16kVA) (24/0,4kV)
Industry oil-immersed (1MV) (24/0,4kV)
Industry dry-type (1.25MVA) (24/0,4kV)
Power Transformer (100MVA, primary voltage 132kV, secondary voltage 33kV)(132/33kV)
DER oil-immersed (2MVA) (24/0,4kV)
DER dry-type (2MVA) (24/0,4kV)
Other (please specify)
Product Lifetime
5.3 | What is your estimate of the average economic and technical lifetime of the following? Do you agree with the estimates provided? Assumptions/ default data presented, please wirte your estimate if you disagree. | 2015: Technical lifetime; 2020: If disagree please write your estimate; 2025: Please indicate if the Economic lifetime is expected to be different from the technical lifetime
| MV/LV Distribution oil-immersed (400kVA) (24/0,4kV) | 2015: 40 years
| Small transformers including Separation/ Isolation (16kVA) (24/0,4kV) | 2015: 10 years
| Industry oil-immersed (1MV) (24/0,4kV) | 2015: 25 years
| Industry dry-type (1.25MVA) (24/0,4kV) | 2015: 30 years
| Power Transformer (100MVA, primary voltage 132kV, secondary voltage 33kV)(132/33kV) | 2015: 30 years
| DER oil-immersed (2MVA) (24/0,4kV) | 2015: 25 years
| DER dry-type (2MVA) (24/0,4kV) | 2015: 25 years
Other (please specify)

## 6. Market Trends
Market Segmentation
6.1.1 | What is the estimated market share of the major manufacturers in the EU-27 for transformers? |  | ABB | %
|  |  | Siemens | %
|  |  | Areva | %
|  |  | Schneider Electric | %
|  |  | Cotradis | %
|  |  | Efacec | %
|  |  | Pauwels | %
|  |  | SGB/Smit | %
|  |  | Transfix | %
|  |  | GE | %
|  |  | Hitachi | %
|  |  | Vijai | %
|  |  | Other | %
|  |  | Other | %
|  |  | Other | %
0
6.1.2 | What is the basis of your estimate (e.g. via third party market research report or expert estimate)?
|  |  | MV/LV Distribution oil-immersed (400kVA) (24/0,4kV) | Small transformers including Separation/ Isolation (16kVA) (24/0,4kV) | Industry oil-immersed (1MV) (24/0,4kV) | Industry dry-type (1.25MVA) (24/0,4kV) | Power Transformer (100MVA, primary voltage 132kV, secondary voltage 33kV)(132/33kV) | DER oil-immersed (2MVA) (24/0,4kV) | DER dry-type (2MVA) (24/0,4kV) | Other (please specify)
6.1.3 | Where are most of your transformers coming from? (Country of manufacture) | China | % | % | % | % | % | % | % | %
|  | India | % | % | % | % | % | % | % | %
|  | Japan | % | % | % | % | % | % | % | %
|  | Insert Country | % | % | % | % | % | % | % | %
|  | Insert Country | % | % | % | % | % | % | % | %
|  | Insert Country | % | % | % | % | % | % | % | %
|  | Insert Country | % | % | % | % | % | % | % | %
|  | Insert Country | % | % | % | % | % | % | % | %
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Amorphous steel
Estimated market share
6.2.1 | Where is amorphous steel being manufactured globally? (Country of manufacture/ import) | Insert Country | %
|  | Insert Country | %
|  | Insert Country | %
|  | Insert Country | %
|  | Insert Country | %
|  | Insert Country | %
|  |  | MV/LV Distribution oil-immersed (400kVA) (24/0,4kV) | Small transformers including Separation/ Isolation (16kVA) (24/0,4kV) | Industry oil-immersed (1MV) (24/0,4kV) | Industry dry-type (1.25MVA) (24/0,4kV) | Power Transformer (100MVA, primary voltage 132kV, secondary voltage 33kV)(132/33kV) | DER oil-immersed (2MVA) (24/0,4kV) | DER dry-type (2MVA) (24/0,4kV) | Other (please specify)
6.2.2 | Where are most of your amorphous core transformers coming from? (Country of manufacture) | Insert Country | % | % | % | % | % | % | % | %
|  | Insert Country | % | % | % | % | % | % | % | %
|  | Insert Country | % | % | % | % | % | % | % | %
|  | Insert Country | % | % | % | % | % | % | % | %
|  | Insert Country | % | % | % | % | % | % | % | %
|  | Insert Country | % | % | % | % | % | % | % | %
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 7. Channels to Market
Channels to Market
7.1 | Does this schematic represent the channels to market? What changes would you make? Would you add or delete anything from this schematic? If so, what? |  | Feedback on Channels to Market Schematic
|  | 7.2 | What are the estimates of the flow of business through each channel?
|  |  | Manufacturer > Utilities | %
|  |  | Manufacturer > Wholesaler > Utilities | %
|  |  | Manufacturer > Industry | %
|  |  | Manufacturer > Wholesaler > Industry | %
0

## 8. Consumer Expenditure
|  |  |  | Product Type | Range of purchase price (€/ unit)
| Average Prices for end user (excl. VAT, in Euros) (€/ unit) |  |  | Transformers
8.1.1 | MV/LV Distribution oil-immersed (400kVA) (24/0,4kV) | € | Insert price | MV/LV Distribution oil-immersed | 8.888
| Small transformers including Separation/ Isolation (16kVA) (24/0,4kV) | € | Insert price | Small transformers including Separation/ Isolation | 1.348
| Industry oil-immersed (1MV) (24/0,4kV) | € | Insert price | Industry oil-immersed | 14.751
| Industry dry-type (1.25MVA) (24/0,4kV) | € | Insert price | Industry dry-type | 19.623
| Power Transformer (100MVA, primary voltage 132kV, secondary voltage 33kV)(132/33kV) | € | Insert price | Power Transformer | 1.036.720
| DER oil-immersed (2MVA) (24/0,4kV) | € | Insert price | DER oil-immersed | 30.068
| DER dry-type (2MVA) (24/0,4kV) | € | Insert price | DER dry-type | 37.958
| Other (please specify) | € | Insert price | Other (please specify)
Average installation Costs of transformers (excl. VAT, in Euros)
8.2.1 | MV/LV Distribution oil-immersed (400kVA) (24/0,4kV) | € | Insert price
| Small transformers including Separation/ Isolation (16kVA) (24/0,4kV) | € | Insert price
| Industry oil-immersed (1MV) (24/0,4kV) | € | Insert price
| Industry dry-type (1.25MVA) (24/0,4kV) | € | Insert price
| Power Transformer (100MVA, primary voltage 132kV, secondary voltage 33kV)(132/33kV) | € | Insert price
| DER oil-immersed (2MVA) (24/0,4kV) | € | Insert price
| DER dry-type (2MVA) (24/0,4kV) | € | Insert price
| Other (please specify) | € | Insert price
Costs of production per unit (in Euros)
8.3.1 | MV/LV Distribution oil-immersed (400kVA) (24/0,4kV) | € | Insert costs
| Small transformers including Separation/ Isolation (16kVA) (24/0,4kV) | € | Insert costs
| Industry oil-immersed (1MV) (24/0,4kV) | € | Insert costs
| Industry dry-type (1.25MVA) (24/0,4kV) | € | Insert costs
| Power Transformer (100MVA, primary voltage 132kV, secondary voltage 33kV)(132/33kV) | € | Insert costs
| DER oil-immersed (2MVA) (24/0,4kV) | € | Insert costs
| DER dry-type (2MVA) (24/0,4kV) | € | Insert costs
| Other (please specify) | € | Insert costs
What are the average repair costs for transformers over the product lifetime? (euros / product life)
8.4.1 | MV/LV Distribution oil-immersed (400kVA) (24/0,4kV) | € | Insert price
| Small transformers including Separation/ Isolation (16kVA) (24/0,4kV) | € | Insert price
| Industry oil-immersed (1MV) (24/0,4kV) | € | Insert price
| Industry dry-type (1.25MVA) (24/0,4kV) | € | Insert price
| Power Transformer (100MVA, primary voltage 132kV, secondary voltage 33kV)(132/33kV) | € | Insert price
| DER oil-immersed (2MVA) (24/0,4kV) | € | Insert price
| DER dry-type (2MVA) (24/0,4kV) | € | Insert price
| Other (please specify) | € | Insert price
What are the average maintenance costs for transformers over the product lifetime? (euros / product life)
8.4.2 | MV/LV Distribution oil-immersed (400kVA) (24/0,4kV) | € | Insert price
| Small transformers including Separation/ Isolation (16kVA) (24/0,4kV) | € | Insert price
| Industry oil-immersed (1MV) (24/0,4kV) | € | Insert price
| Industry dry-type (1.25MVA) (24/0,4kV) | € | Insert price
| Power Transformer (100MVA, primary voltage 132kV, secondary voltage 33kV)(132/33kV) | € | Insert price
| DER oil-immersed (2MVA) (24/0,4kV) | € | Insert price
| DER dry-type (2MVA) (24/0,4kV) | € | Insert price
| Other (please specify) | € | Insert price
Disposal Tariffs and Taxes
8.5.1 | Are you aware of any tariffs or taxes for disposing of transformers? (euros/product) |  | Describe tariffs or taxes here
| MV/LV Distribution oil-immersed (400kVA) (24/0,4kV) | € | Insert costs
| Small transformers including Separation/ Isolation (16kVA) (24/0,4kV) | € | Insert costs
| Industry oil-immersed (1MV) (24/0,4kV) | € | Insert costs
| Industry dry-type (1.25MVA) (24/0,4kV) | € | Insert costs
| Power Transformer (100MVA, primary voltage 132kV, secondary voltage 33kV)(132/33kV) | € | Insert costs
| DER oil-immersed (2MVA) (24/0,4kV) | € | Insert costs
| DER dry-type (2MVA) (24/0,4kV) | € | Insert costs
| Other (please specify) | € | Insert costs
Note on I1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Are these the prices from 2011? Good idea to have the quotes here. Reply: Yes from 2011

## 9. Circular Economy
Maintenance, Repairability and End-of-Life Behaviours
9.1.1 | Please elaborate on the required frequency of maintenance, the availability of spare parts and proximity of qualified engineers for maintenance. For how long is this support usually available for purchasers?
9.1.2 | How do you manage your producer responsibility obligations for products at the end of life phase?
9.1.3 | What components of these products are the most likely to fail? Is there a particular frequency for each component to fail? A list of components from the Ecodesign regulation has been provided here as a reference point. Please include other components as relevant. |  | Transformers
Insulation
Windings
Cooling systems
Tap changer
Bushings
Relays
Core
Other (please specify)
Other (please specify)
Other (please specify)
Other (please specify)
Other (please specify)
Transformers
9.1.4 | What proportion of the total EU used transformers are: | collected
reused
refurbished
exported
recycled
landfill
incineration
parts for reuse
All questions below refer to the base cases- see Tab 1
9.2.1 | What is the average weight of transported transformer package (product and packaging) according to the following classification? |  | BC 1 - Distribution transformer | Mass (kg)
|  |  | BC 2 - Small Transformers including Separation/ Isolation Transformer | Mass (kg)
9.2.2 | What is the average quantity of packaging involved in the sale of a transformer? Please provide values in weight if available. |  |  | BC 1 - Distribution Transformer | BC 2 - Separation/ Isolation Transformer
Paper (virgin)
Paper (recycled)
Cardboard (virgin)
Cardboard (recycled)
Plastic (virgin)
Plastic (recycled)
Wood
Aluminium (virgin)
Aluminium (recycled)
Steel (virgin)
Steel (recycled)
Glass (virgin)
Glass (recycled)
Other (please specify)
Other (please specify)
Other (please specify)
Other (please specify)
Other (please specify)
9.2.3 | What is the average quantity of material (virgin/recycled) that is used when a transformer is repaired or maintained? Please provide values in weight if available. |  |  | BC 1 - Distribution Transformer | BC 2 - Separation/ Isolation Transformer
Please specify
Please specify
Please specify
Please specify
Please specify
Please specify
Please specify
Please specify
Please specify
Please specify
Please specify
Please specify
9.2.4 | What % or mass (g) of the materials used in the manufacture of a transformer product are: |  |  | BC 1 - Distribution Transformer | BC 2 - Separation/ Isolation Transformer
virgin plastics
virgin metals
virgin electronics
virgin others
recycled plastics
recycled metals
recycled electronics
recycled others
9.2.5 | Please state as a % or mass (g) the additional materials used in the assembly of transformers and also provide the if these are sourced from virgin or recycled materials (e.g., lubricants, glue, gas for soldering etc) |  |  | Transformers
9.3 | What % of the transformers overall materials are available as spare parts if there is a malfunction ? |  |  | BC 1 - Distribution Transformer | BC 2 - Separation/ Isolation Transformer
|  |  |  | BC 1 - Distribution Transformer | BC 2 - Separation/ Isolation Transformer
9.4.1 | What is the average amount of electricity is used for the manufacturing and assembly of transformers (kWh)? (-not including the manufacturing of components)
|  |  |  | BC 1 - Distribution Transformer | BC 2 - Separation/ Isolation Transformer
9.4.2 | What is the average amount of thermal energy is used for the manufacturing and assembly of transformers (kWh)? (-not including the manufacturing of components)
9.4.3 | What is the average amount of direct emissions (CO2e/kg) is used for the manufacturing and assembly of transformers? (-not including the manufacturing of components) |  |  | BC 1 - Distribution Transformer | BC 2 - Separation/ Isolation Transformer
Please provide material efficiency data according to the characteristic components and features as outlined in the bases cases in tab 1.